## Sheet1
Quiet counts with closed shutter - LOW, MEDIUM and HIGH activity of the synchrothone and comparison with old quiet counts.
| LOW | MEDIUM | HIGH
Run | 17559 | 17560 | 15761 | 15212 | LOW/MEDIUM | NEW/OLD | HIGH/LOW
time (hours) | 197 | 68 | 238 | 65 | 2.8971 | 1.0462 | 1.2081
Proton Charge (uAh) | 50 | 169 | 15867 | 814 | With low/medium activity of the syncrhotron, the number of counnts is proportional to the duration of the runs. | MEDIUM and OLD have the same acquisition duration. For constant efficiency of a detector I expect the ratio to be 1 | With high and low activities of the syncrhotron, in similar times are measured very different count rates
Detectors | Counts integrated on all the tof range (0-20000 us)
1 | 1195 | 510 | 64125129 | 927
2 | 570 | 1451 | 16546955 | 265
3 | 387203 | 130080 | 8127671 | 90906 | 2.9767 | 1.4309 | 20.9907
4 | 411007 | 138626 | 7617599 | 143823 | 2.9649 | 0.96387 | 18.534
5 | 383943 | 128995 | 7479506 | 134751 | 2.9764 | 0.95728 | 19.4808
6 | 248096 | 82384 | 5724518 | 71273 | 3.0115 | 1.1559 | 23.0738
7 | 271823 | 85959 | 6237720 | 98250 | 3.1622 | 0.8749 | 22.9477
8 | 402051 | 134200 | 8084359 | 142927 | 2.9959 | 0.93894 | 20.1078
9 | 314538 | 104680 | 6762572 | 112531 | 3.0048 | 0.93023 | 21.5
10 | 347777 | 116936 | 7086085 | 121440 | 2.9741 | 0.96291 | 20.3754
11 | 398677 | 135656 | 7340653 | 86527 | 2.9389 | 1.5678 | 18.4125
12 | 293347 | 96702 | 6606720 | 108757 | 3.0335 | 0.88916 | 22.5219
13 | 331496 | 109438 | 7358980 | 152243 | 3.0291 | 0.71884 | 22.1993
14 | 290207 | 97341 | 6505617 | 112039 | 2.9813 | 0.86881 | 22.4172
15 | 497303 | 166157 | 7494577 | 81947 | 2.993 | 2.0276 | 15.0704
16 | 258605 | 86864 | 6024766 | 110347 | 2.9771 | 0.78719 | 23.2972
17 | 408793 | 136533 | 7676788 | 133307 | 2.9941 | 1.0242 | 18.7792
18 | 400907 | 134314 | 7915213 | 139671 | 2.9848 | 0.96165 | 19.7433
19 | 368451 | 123612 | 7401310 | 132012 | 2.9807 | 0.93637 | 20.0876
20 | 376060 | 126015 | 7133133 | 130959 | 2.9842 | 0.96225 | 18.9681
21 | 318533 | 106081 | 6929612 | 116220 | 3.0027 | 0.91276 | 21.7548
22 | 267254 | 88321 | 6265982 | 101872 | 3.0259 | 0.86698 | 23.4458
23 | 299538 | 100600 | 6729436 | 114056 | 2.9775 | 0.88202 | 22.4661
24 | 333588 | 132664 | 6946829 | 124690 | 2.5145 | 1.064 | 20.8246
25 | 459850 | 154808 | 7745686 | 160836 | 2.9705 | 0.96252 | 16.8439
26 | 416195 | 139591 | 8088316 | 147137 | 2.9815 | 0.94871 | 19.434
27 | 309122 | 103394 | 6940287 | 113310 | 2.9897 | 0.91249 | 22.4516
28 | 394496 | 132096 | 7480129 | 140906 | 2.9864 | 0.93748 | 18.9612
29 | 378056 | 127157 | 7544714 | 137135 | 2.9731 | 0.92724 | 19.9566
30 | 411289 | 137868 | 8362644 | 144593 | 2.9832 | 0.95349 | 20.3328
31 | 581035 | 195917 | 7899476 | 84676 | 2.9657 | 2.3137 | 13.5955
32 | 437820 | 147632 | 7737956 | 83469 | 2.9656 | 1.7687 | 17.6738
33 | 337505 | 112907 | 6666955 | 124311 | 2.9892 | 0.90826 | 19.7536
34 | 301987 | 101161 | 6998372 | 108481 | 2.9852 | 0.93252 | 23.1744
35 | 615573 | 208763 | 8488525 | 203473 | 2.9487 | 1.026 | 13.7896
36 | 303830 | 101249 | 6330831 | 110072 | 3.0008 | 0.91984 | 20.8368
37 | 304589 | 102664 | 6115102 | 115246 | 2.9669 | 0.89082 | 20.0766
38 | 525205 | 177178 | 8143564 | 187296 | 2.9643 | 0.94598 | 15.5055
39 | 548235 | 183793 | 8795324 | 114908 | 2.9829 | 1.5995 | 16.043
40 | 486956 | 163151 | 9156045 | 166357 | 2.9847 | 0.98073 | 18.8026
41 | 388139 | 130311 | 8386203 | 141891 | 2.9786 | 0.91839 | 21.6062
42 | 589910 | 199106 | 9206863 | 98321 | 2.9628 | 2.0251 | 15.6072
43 | 612673 | 207082 | 9697661 | 131408 | 2.9586 | 1.5759 | 15.8284
44 | 478161 | 161557 | 9218654 | 175416 | 2.9597 | 0.92099 | 19.2794
45 | 387698 | 130458 | 8017554 | 152118 | 2.9718 | 0.85761 | 20.6799
46 | 280106 | 93302 | 6618272 | 116117 | 3.0021 | 0.80352 | 23.6277
47 | 469075 | 158176 | 7695407 | 167533 | 2.9655 | 0.94415 | 16.4055
48 | 436928 | 146047 | 6934030 | 157578 | 2.9917 | 0.92682 | 15.87
49 | 446262 | 149845 | 6680023 | 166262 | 2.9782 | 0.90126 | 14.9688
50 | 517822 | 174529 | 6976964 | 183472 | 2.967 | 0.95126 | 13.4737
51 | 493852 | 165657 | 7098034 | 184832 | 2.9812 | 0.89626 | 14.3728
52 | 432421 | 145198 | 7813508 | 155721 | 2.9781 | 0.93242 | 18.0692
53 | 460349 | 154331 | 6683349 | 168674 | 2.9829 | 0.91497 | 14.518
54 | 470227 | 156504 | 6373519 | 170376 | 3.0046 | 0.91858 | 13.5541
55 | 658233 | 222494 | 7137690 | 72288 | 2.9584 | 3.0779 | 10.8437
56 | 394196 | 131600 | 5837071 | 141709 | 2.9954 | 0.92866 | 14.8075
57 | 426428 | 143774 | 6651402 | 154952 | 2.966 | 0.92786 | 15.5979
58 | 464468 | 157012 | 6803695 | 163299 | 2.9582 | 0.9615 | 14.6484
59 | 675581 | 226052 | 7137270 | 114647 | 2.9886 | 1.9717 | 10.5646
60 | 825155 | 277245 | 7717698 | 142040 | 2.9763 | 1.9519 | 9.353
61 | 573493 | 196313 | 6760476 | 99620 | 2.9213 | 1.9706 | 11.7882
62 | 351542 | 116714 | 5949592 | 127432 | 3.012 | 0.91589 | 16.9243
63 | 523523 | 177273 | 7383922 | 181783 | 2.9532 | 0.97519 | 14.1043
64 | 340045 | 112239 | 5037708 | 166487 | 3.0297 | 0.67416 | 14.8148
65 | 331993 | 108150 | 5263018 | 148693 | 3.0697 | 0.72734 | 15.8528
66 | 595972 | 201699 | 7002272 | 198219 | 2.9548 | 1.0176 | 11.7493
67 | 638743 | 212616 | 7552546 | 144878 | 3.0042 | 1.4676 | 11.8241
68 | 564227 | 190953 | 6922057 | 145076 | 2.9548 | 1.3162 | 12.2682
69 | 533956 | 180106 | 6897929 | 153833 | 2.9647 | 1.1708 | 12.9185
70 | 252854 | 81762 | 2372350 | 128285 | 3.0926 | 0.63735 | 9.3823
71 | 503947 | 170451 | 7455479 | 176618 | 2.9566 | 0.96508 | 14.7942
72 | 479985 | 161099 | 6901058 | 164968 | 2.9794 | 0.97655 | 14.3777
73 | 309540 | 102938 | 4775185 | 122899 | 3.0071 | 0.83758 | 15.4267
74 | 427706 | 144224 | 6980205 | 169199 | 2.9656 | 0.85239 | 16.3201
75 | 449814 | 151945 | 7222324 | 146501 | 2.9604 | 1.0372 | 16.0562
76 | 526574 | 177364 | 7283373 | 186685 | 2.9689 | 0.95007 | 13.8316
77 | 456140 | 153520 | 6883129 | 163655 | 2.9712 | 0.93807 | 15.0899
78 | 455619 | 153588 | 7372478 | 160201 | 2.9665 | 0.95872 | 16.1812
79 | 458190 | 153501 | 7019245 | 162649 | 2.9849 | 0.94376 | 15.3195
80 | 465009 | 156948 | 7560576 | 169810 | 2.9628 | 0.92426 | 16.259
81 | 652444 | 222426 | 8865724 | 218421 | 2.9333 | 1.0183 | 13.5885
82 | 408401 | 137178 | 6964195 | 151068 | 2.9772 | 0.90805 | 17.0523
83 | 564249 | 191400 | 8245869 | 195664 | 2.948 | 0.97821 | 14.6139
84 | 492462 | 164789 | 8243823 | 120445 | 2.9884 | 1.3682 | 16.74
85 | 412362 | 138121 | 7289023 | 160800 | 2.9855 | 0.85896 | 17.6763
86 | 615295 | 207833 | 9398433 | 133496 | 2.9605 | 1.5568 | 15.2747
87 | 603247 | 203668 | 8861644 | 205632 | 2.9619 | 0.99045 | 14.6899
88 | 789663 | 266731 | 10335297 | 265992 | 2.9605 | 1.0028 | 13.0882
89 | 457892 | 154088 | 8950875 | 178214 | 2.9716 | 0.86462 | 19.548
90 | 579115 | 195717 | 10352192 | 208791 | 2.9589 | 0.93738 | 17.8759
91 | 577089 | 194133 | 8658915 | 200533 | 2.9726 | 0.96809 | 15.0045
92 | 427740 | 142581 | 7666607 | 149118 | 3 | 0.95616 | 17.9235
93 | 306536 | 102650 | 6488434 | 116930 | 2.9862 | 0.87788 | 21.167
94 | 740333 | 246170 | 8164974 | 175388 | 3.0074 | 1.4036 | 11.0288
95 | 353474 | 120997 | 6403117 | 134580 | 2.9213 | 0.89907 | 18.1148
96 | 721190 | 243647 | 9065854 | 239297 | 2.96 | 1.0182 | 12.5707
97 | 242998 | 78873 | 2832515 | 140491 | 3.0809 | 0.56141 | 11.6565
98 | 499672 | 167865 | 7508272 | 169851 | 2.9766 | 0.98831 | 15.0264
99 | 450846 | 150697 | 7692395 | 166637 | 2.9917 | 0.90434 | 17.0621
100 | 336519 | 112893 | 6053437 | 132532 | 2.9809 | 0.85182 | 17.9884
101 | 390673 | 130383 | 6926787 | 150476 | 2.9963 | 0.86647 | 17.7304
102 | 417531 | 140471 | 6378383 | 171827 | 2.9724 | 0.81751 | 15.2764
103 | 590745 | 198605 | 7604888 | 193430 | 2.9745 | 1.0268 | 12.8734
104 | 504219 | 169554 | 7502633 | 166911 | 2.9738 | 1.0158 | 14.8797
105 | 579494 | 195874 | 7451391 | 196120 | 2.9585 | 0.99875 | 12.8584
106 | 321604 | 109107 | 6899627 | 0 | 2.9476 | #DIV/0! | 21.4538
107 | 318316 | 106372 | 6761487 | 130377 | 2.9925 | 0.81588 | 21.2414
108 | 291561 | 97652 | 4870314 | 125358 | 2.9857 | 0.77898 | 16.7043
109 | 370596 | 124627 | 6366224 | 136628 | 2.9736 | 0.91216 | 17.1783
110 | 523631 | 175469 | 7584570 | 173399 | 2.9842 | 1.0119 | 14.4846
111 | 548500 | 184196 | 8056923 | 107918 | 2.9778 | 1.7068 | 14.689
112 | 424176 | 142133 | 6874646 | 154737 | 2.9844 | 0.91855 | 16.2071
113 | 347548 | 115994 | 6412164 | 132921 | 2.9963 | 0.87265 | 18.4497
114 | 485318 | 162307 | 8085257 | 171014 | 2.9901 | 0.94909 | 16.6597
115 | 318976 | 105865 | 6279778 | 131309 | 3.013 | 0.80623 | 19.6873
116 | 344395 | 115046 | 6622399 | 135309 | 2.9935 | 0.85025 | 19.2291
117 | 271388 | 89632 | 4992593 | 115735 | 3.0278 | 0.77446 | 18.3965
118 | 513122 | 172974 | 7948617 | 164540 | 2.9665 | 1.0513 | 15.4907
119 | 566290 | 190292 | 8284208 | 54054 | 2.9759 | 3.5204 | 14.6289
120 | 624809 | 211013 | 7994942 | 110196 | 2.961 | 1.9149 | 12.7958
121 | 497522 | 166229 | 7386072 | 168342 | 2.993 | 0.98745 | 14.8457
122 | 473451 | 158907 | 7632853 | 170039 | 2.9794 | 0.93453 | 16.1217
123 | 536115 | 178667 | 7822937 | 183134 | 3.0006 | 0.97561 | 14.5919
124 | 828769 | 281357 | 8864988 | 276220 | 2.9456 | 1.0186 | 10.6966
125 | 419738 | 140364 | 8424030 | 159609 | 2.9904 | 0.87942 | 20.0697
126 | 579153 | 195609 | 7922694 | 186832 | 2.9608 | 1.047 | 13.6798
127 | 546907 | 183677 | 8573679 | 178892 | 2.9775 | 1.0267 | 15.6767
128 | 495142 | 166692 | 8832028 | 165825 | 2.9704 | 1.0052 | 17.8374
129 | 733215 | 247862 | 8851169 | 249491 | 2.9582 | 0.99347 | 12.0717
130 | 365162 | 122610 | 6616959 | 147855 | 2.9782 | 0.82926 | 18.1206
131 | 281700 | 94196 | 6020405 | 130015 | 2.9906 | 0.7245 | 21.3717
132 | 398125 | 134308 | 8108268 | 155548 | 2.9643 | 0.86345 | 20.3661
133 | 359942 | 120894 | 8023623 | 130952 | 2.9773 | 0.92319 | 22.2914
134 | 288327 | 97061 | 7589950 | 118831 | 2.9706 | 0.8168 | 26.3241
135 | 432714 | 146310 | 3225201 | 156235 | 2.9575 | 0.93647 | 7.4534
136 | 415401 | 140116 | 3249669 | 148236 | 2.9647 | 0.94522 | 7.823
137 | 392711 | 132727 | 3142137 | 150634 | 2.9588 | 0.88112 | 8.0011
138 | 450290 | 152168 | 3494387 | 156370 | 2.9592 | 0.97313 | 7.7603
139 | 498515 | 168410 | 2700258 | 173063 | 2.9601 | 0.97311 | 5.4166
140 | 358110 | 119712 | 2175139 | 140255 | 2.9914 | 0.85353 | 6.0739
141 | 488272 | 165283 | 2815586 | 165263 | 2.9542 | 1.0001 | 5.7664
142 | 356777 | 120153 | 2283474 | 141090 | 2.9694 | 0.85161 | 6.4003
143 | 421682 | 141225 | 2540547 | 152177 | 2.9859 | 0.92803 | 6.0248
144 | 379281 | 127609 | 2360066 | 141070 | 2.9722 | 0.90458 | 6.2225
145 | 361386 | 121384 | 2316299 | 139046 | 2.9772 | 0.87298 | 6.4095
146 | 374661 | 125925 | 2405435 | 140546 | 2.9753 | 0.89597 | 6.4203
147 | 490710 | 166552 | 2551755 | 168291 | 2.9463 | 0.98967 | 5.2001
148 | 401940 | 135667 | 2234730 | 143370 | 2.9627 | 0.94627 | 5.5599
149 | 460143 | 155460 | 2582522 | 161952 | 2.9599 | 0.95991 | 5.6124
150 | 472242 | 159097 | 2674277 | 171179 | 2.9683 | 0.92942 | 5.6629
151 | 532184 | 180189 | 3876476 | 173389 | 2.9535 | 1.0392 | 7.2841
152 | 445359 | 149717 | 3761480 | 158599 | 2.9747 | 0.944 | 8.446
153 | 555904 | 187489 | 4432727 | 186781 | 2.965 | 1.0038 | 7.9739
154 | 475175 | 161057 | 3981290 | 170792 | 2.9504 | 0.943 | 8.3786
155 | 529443 | 178906 | 3173901 | 177150 | 2.9593 | 1.0099 | 5.9948
156 | 537550 | 181165 | 3269496 | 183450 | 2.9672 | 0.98754 | 6.0822
157 | 456011 | 152982 | 3082570 | 165231 | 2.9808 | 0.92587 | 6.7599
158 | 457654 | 153450 | 3250703 | 159781 | 2.9824 | 0.96038 | 7.103
159 | 495805 | 167134 | 3231455 | 145313 | 2.9665 | 1.1502 | 6.5176
160 | 390708 | 131555 | 3098460 | 167607 | 2.9699 | 0.7849 | 7.9304
161 | 444883 | 144310 | 3480189 | 153638 | 3.0828 | 0.93929 | 7.8227
162 | 520672 | 175059 | 4050853 | 174786 | 2.9743 | 1.0016 | 7.78
163 | 496100 | 167873 | 3100068 | 174432 | 2.9552 | 0.9624 | 6.2489
164 | 526421 | 177522 | 3264937 | 176110 | 2.9654 | 1.008 | 6.2021
165 | 489408 | 165218 | 3166696 | 173670 | 2.9622 | 0.95133 | 6.4705
166 | 513009 | 172933 | 3452999 | 173866 | 2.9665 | 0.99463 | 6.7309
167 | 467166 | 156490 | 3121552 | 157393 | 2.9853 | 0.99426 | 6.6819
168 | 519154 | 175307 | 3500324 | 168341 | 2.9614 | 1.0414 | 6.7424
169 | 567591 | 191320 | 3907431 | 177916 | 2.9667 | 1.0753 | 6.8842
170 | 563818 | 189670 | 3931977 | 173744 | 2.9726 | 1.0917 | 6.9738
171 | 557780 | 186498 | 3116300 | 171673 | 2.9908 | 1.0864 | 5.587
172 | 504242 | 169811 | 2945167 | 161278 | 2.9694 | 1.0529 | 5.8408
173 | 496499 | 167483 | 3007571 | 166233 | 2.9645 | 1.0075 | 6.0576
174 | 464242 | 156296 | 3029083 | 153256 | 2.9703 | 1.0198 | 6.5248
175 | 548686 | 184114 | 3883926 | 175651 | 2.9801 | 1.0482 | 7.0786
176 | 581403 | 196901 | 4219021 | 184739 | 2.9528 | 1.0658 | 7.2566
177 | 558929 | 188122 | 4230176 | 176198 | 2.9711 | 1.0677 | 7.5684
178 | 543957 | 275296 | 4065339 | 182173 | 1.9759 | 1.5112 | 7.4736
179 | 488419 | 164212 | 2803604 | 159122 | 2.9743 | 1.032 | 5.7402
180 | 421630 | 141812 | 2494817 | 145825 | 2.9732 | 0.97248 | 5.9171
181 | 524483 | 176711 | 2978666 | 172111 | 2.968 | 1.0267 | 5.6792
182 | 572300 | 192484 | 3479288 | 181581 | 2.9732 | 1.06 | 6.0795
183 | 503118 | 168805 | 2943169 | 157064 | 2.9805 | 1.0748 | 5.8499
184 | 453666 | 151898 | 2514962 | 148913 | 2.9866 | 1.02 | 5.5436
185 | 467016 | 156679 | 2632872 | 148494 | 2.9807 | 1.0551 | 5.6376
186 | 479361 | 160412 | 2868023 | 150202 | 2.9883 | 1.068 | 5.983
187 | 556961 | 187270 | 2674491 | 158850 | 2.9741 | 1.1789 | 4.8019
188 | 437428 | 146583 | 2260042 | 140443 | 2.9842 | 1.0437 | 5.1667
189 | 486605 | 163384 | 2520713 | 154197 | 2.9783 | 1.0596 | 5.1802
190 | 401375 | 134021 | 2215563 | 132097 | 2.9949 | 1.0146 | 5.5199
191 | 467698 | 156199 | 3012900 | 157727 | 2.9942 | 0.99031 | 6.442
192 | 502789 | 168901 | 3455559 | 161740 | 2.9768 | 1.0443 | 6.8728
193 | 466376 | 156499 | 3348694 | 153046 | 2.9801 | 1.0226 | 7.1802
194 | 474651 | 159232 | 3351029 | 161958 | 2.9809 | 0.98317 | 7.06
195 | 568596 | 191079 | 2579323 | 170986 | 2.9757 | 1.1175 | 4.5363
196 | 610247 | 205200 | 2930105 | 179520 | 2.9739 | 1.143 | 4.8015
197 | 503507 | 169027 | 2550289 | 156259 | 2.9789 | 1.0817 | 5.0651
198 | 542141 | 182523 | 2865678 | 169593 | 2.9703 | 1.0762 | 5.2859
Counts integrated on the tof range (50-500 us)
1 | 24 | 19 | 1165011 | 26
2 | 14 | 6 | 302539 | 8
3 | 8760 | 2986 | 151165 | 2022 | 2.9337 | 1.4768 | 17.2563
4 | 9226 | 3140 | 142317 | 3240 | 2.9382 | 0.96914 | 15.4256
5 | 8646 | 2958 | 139533 | 3071 | 2.9229 | 0.9632 | 16.1384
6 | 5452 | 1857 | 106484 | 1663 | 2.9359 | 1.1167 | 19.5312
7 | 6125 | 1985 | 115627 | 2238 | 3.0856 | 0.88695 | 18.8779
8 | 8939 | 3131 | 150834 | 3270 | 2.855 | 0.95749 | 16.8737
9 | 7110 | 2457 | 125966 | 2589 | 2.8938 | 0.94902 | 17.7167
10 | 7752 | 2654 | 132618 | 2681 | 2.9209 | 0.98993 | 17.1076
11 | 8918 | 2995 | 137696 | 1910 | 2.9776 | 1.5681 | 15.4402
12 | 6483 | 2221 | 123444 | 2462 | 2.919 | 0.90211 | 19.0412
13 | 7404 | 2490 | 137483 | 3434 | 2.9735 | 0.7251 | 18.5687
14 | 6509 | 2263 | 121489 | 2537 | 2.8763 | 0.892 | 18.6648
15 | 11180 | 3760 | 141069 | 1845 | 2.9734 | 2.0379 | 12.618
16 | 5748 | 1948 | 111704 | 2465 | 2.9507 | 0.79026 | 19.4335
17 | 9238 | 3052 | 143843 | 2860 | 3.0269 | 1.0671 | 15.5708
18 | 9052 | 3062 | 147911 | 3152 | 2.9562 | 0.97145 | 16.3401
19 | 8246 | 2822 | 138637 | 2941 | 2.922 | 0.95954 | 16.8126
20 | 8396 | 2887 | 134061 | 2992 | 2.9082 | 0.96491 | 15.9672
21 | 7195 | 2495 | 130163 | 2637 | 2.8838 | 0.94615 | 18.0908
22 | 6038 | 1991 | 116397 | 2272 | 3.0326 | 0.87632 | 19.2774
23 | 6579 | 2257 | 125828 | 2580 | 2.9149 | 0.87481 | 19.1257
24 | 7465 | 2998 | 131047 | 2744 | 2.49 | 1.0926 | 17.5549
25 | 10378 | 3544 | 146302 | 3683 | 2.9283 | 0.96226 | 14.0973
26 | 9436 | 3140 | 152340 | 3422 | 3.0051 | 0.91759 | 16.1446
27 | 6934 | 2360 | 130373 | 2629 | 2.9381 | 0.89768 | 18.802
28 | 8877 | 2973 | 140753 | 3189 | 2.9859 | 0.93227 | 15.8559
29 | 8760 | 2888 | 141867 | 3100 | 3.0332 | 0.93161 | 16.1949
30 | 9250 | 3037 | 157613 | 3180 | 3.0458 | 0.95503 | 17.0392
31 | 13110 | 4451 | 150368 | 1899 | 2.9454 | 2.3439 | 11.4697
32 | 9867 | 3243 | 146180 | 1942 | 3.0426 | 1.6699 | 14.815
33 | 7687 | 2623 | 125908 | 2841 | 2.9306 | 0.92327 | 16.3793
34 | 6735 | 2337 | 131408 | 2470 | 2.8819 | 0.94615 | 19.5112
35 | 14015 | 4787 | 161249 | 4641 | 2.9277 | 1.0315 | 11.5055
36 | 6938 | 2343 | 119127 | 2566 | 2.9612 | 0.91309 | 17.1702
37 | 6913 | 2303 | 115709 | 2650 | 3.0017 | 0.86906 | 16.7379
38 | 11751 | 4102 | 154297 | 4112 | 2.8647 | 0.99757 | 13.1305
39 | 12568 | 4182 | 167207 | 2714 | 3.0053 | 1.5409 | 13.3042
40 | 10961 | 3689 | 173570 | 3766 | 2.9713 | 0.97955 | 15.8352
41 | 8712 | 2826 | 158775 | 3242 | 3.0828 | 0.87168 | 18.2249
42 | 13129 | 4516 | 174785 | 2254 | 2.9072 | 2.0035 | 13.3129
43 | 13728 | 4706 | 184891 | 2980 | 2.9171 | 1.5792 | 13.4682
44 | 10742 | 3706 | 175112 | 3900 | 2.8985 | 0.95026 | 16.3016
45 | 8854 | 2987 | 151693 | 3390 | 2.9642 | 0.88112 | 17.1327
46 | 6230 | 2123 | 125604 | 2690 | 2.9345 | 0.78922 | 20.1612
47 | 10531 | 3451 | 143996 | 3786 | 3.0516 | 0.91152 | 13.6735
48 | 9874 | 3259 | 129210 | 3535 | 3.0298 | 0.92192 | 13.0859
49 | 10153 | 3278 | 125510 | 3822 | 3.0973 | 0.85767 | 12.3619
50 | 11649 | 3926 | 131344 | 4220 | 2.9671 | 0.93033 | 11.2751
51 | 11277 | 3771 | 133230 | 4179 | 2.9905 | 0.90237 | 11.8143
52 | 9666 | 3285 | 145638 | 3526 | 2.9425 | 0.93165 | 15.067
53 | 10527 | 3534 | 125351 | 3828 | 2.9788 | 0.9232 | 11.9076
54 | 10509 | 3610 | 120325 | 3911 | 2.9111 | 0.92304 | 11.4497
55 | 14686 | 4963 | 135867 | 1665 | 2.9591 | 2.9808 | 9.2515
56 | 8802 | 2949 | 109625 | 3223 | 2.9847 | 0.91499 | 12.4546
57 | 9463 | 3389 | 124783 | 3534 | 2.7923 | 0.95897 | 13.1864
58 | 10688 | 3640 | 128106 | 3702 | 2.9363 | 0.98325 | 11.986
59 | 15183 | 5159 | 136671 | 2568 | 2.943 | 2.009 | 9.0016
60 | 18487 | 6078 | 147199 | 3223 | 3.0416 | 1.8858 | 7.9623
61 | 12749 | 4426 | 127847 | 2239 | 2.8805 | 1.9768 | 10.028
62 | 7830 | 2576 | 111641 | 2822 | 3.0396 | 0.91283 | 14.2581
63 | 11872 | 4027 | 139139 | 4143 | 2.9481 | 0.972 | 11.7199
64 | 7604 | 2518 | 94750 | 3779 | 3.0199 | 0.66631 | 12.4605
65 | 7302 | 2443 | 99497 | 3411 | 2.9889 | 0.71621 | 13.626
66 | 13600 | 4523 | 132744 | 4463 | 3.0069 | 1.0134 | 9.7606
67 | 14522 | 4738 | 143139 | 3245 | 3.065 | 1.4601 | 9.8567
68 | 12744 | 4351 | 131658 | 3285 | 2.929 | 1.3245 | 10.331
69 | 12094 | 4041 | 130407 | 3471 | 2.9928 | 1.1642 | 10.7828
70 | 5731 | 1798 | 45228 | 2864 | 3.1874 | 0.62779 | 7.8918
71 | 11403 | 3862 | 140464 | 4000 | 2.9526 | 0.9655 | 12.3182
72 | 10784 | 3665 | 130144 | 3684 | 2.9424 | 0.99484 | 12.0682
73 | 6852 | 2291 | 90374 | 2730 | 2.9908 | 0.83919 | 13.1894
74 | 9711 | 3271 | 131264 | 3895 | 2.9688 | 0.83979 | 13.517
75 | 10234 | 3469 | 136306 | 3366 | 2.9501 | 1.0306 | 13.3189
76 | 11965 | 3873 | 138396 | 4231 | 3.0893 | 0.91539 | 11.5667
77 | 10025 | 3472 | 129882 | 3722 | 2.8874 | 0.93283 | 12.9558
78 | 10224 | 3449 | 139838 | 3694 | 2.9643 | 0.93368 | 13.6774
79 | 10393 | 3409 | 133234 | 3689 | 3.0487 | 0.9241 | 12.8196
80 | 10491 | 3587 | 142771 | 3721 | 2.9247 | 0.96399 | 13.6089
81 | 14621 | 5024 | 169386 | 4992 | 2.9102 | 1.0064 | 11.5851
82 | 9210 | 3113 | 132444 | 3370 | 2.9586 | 0.92374 | 14.3805
83 | 12865 | 4384 | 156125 | 4338 | 2.9345 | 1.0106 | 12.1356
84 | 11066 | 3727 | 157348 | 2758 | 2.9691 | 1.3513 | 14.219
85 | 9311 | 3149 | 137683 | 3676 | 2.9568 | 0.85664 | 14.7871
86 | 13811 | 4735 | 179393 | 2968 | 2.9168 | 1.5954 | 12.9891
87 | 13662 | 4534 | 169366 | 4690 | 3.0132 | 0.96674 | 12.3969
88 | 17928 | 5959 | 197632 | 5971 | 3.0086 | 0.99799 | 11.0237
89 | 10580 | 3447 | 170495 | 4021 | 3.0693 | 0.85725 | 16.1148
90 | 13145 | 4457 | 198616 | 4726 | 2.9493 | 0.94308 | 15.1096
91 | 13226 | 4373 | 163338 | 4447 | 3.0245 | 0.98336 | 12.3498
92 | 9743 | 3231 | 142885 | 3320 | 3.0155 | 0.97319 | 14.6654
93 | 6979 | 2427 | 120338 | 2577 | 2.8756 | 0.94179 | 17.2429
94 | 16545 | 5446 | 154516 | 3989 | 3.038 | 1.3653 | 9.3391
95 | 7838 | 2713 | 119286 | 3074 | 2.8891 | 0.88256 | 15.2189
96 | 16429 | 5523 | 171519 | 5233 | 2.9747 | 1.0554 | 10.44
97 | 5401 | 1792 | 53335 | 3176 | 3.014 | 0.56423 | 9.875
98 | 11294 | 3658 | 141597 | 3816 | 3.0875 | 0.9586 | 12.5374
99 | 10312 | 3464 | 145344 | 3679 | 2.9769 | 0.94156 | 14.0946
100 | 7678 | 2559 | 113988 | 2974 | 3.0004 | 0.86046 | 14.8461
101 | 8809 | 2994 | 130229 | 3494 | 2.9422 | 0.8569 | 14.7836
102 | 9452 | 3204 | 119745 | 3846 | 2.9501 | 0.83307 | 12.6687
103 | 13348 | 4507 | 144364 | 4318 | 2.9616 | 1.0438 | 10.8154
104 | 11639 | 3942 | 141916 | 3719 | 2.9526 | 1.06 | 12.1931
105 | 13122 | 4448 | 141233 | 4370 | 2.9501 | 1.0178 | 10.7631
106 | 7246 | 2399 | 128841 | 0 | 3.0204 | #DIV/0! | 17.781
107 | 7098 | 2391 | 126509 | 2949 | 2.9686 | 0.81078 | 17.8232
108 | 6578 | 2194 | 91680 | 2820 | 2.9982 | 0.77801 | 13.9374
109 | 8376 | 2804 | 119323 | 3134 | 2.9872 | 0.8947 | 14.2458
110 | 11696 | 3890 | 142439 | 3877 | 3.0067 | 1.0034 | 12.1784
111 | 12428 | 4154 | 152002 | 2408 | 2.9918 | 1.7251 | 12.2306
112 | 9752 | 3194 | 129897 | 3424 | 3.0532 | 0.93283 | 13.32
113 | 7896 | 2593 | 120707 | 3037 | 3.0451 | 0.8538 | 15.2871
114 | 11046 | 3622 | 152615 | 3835 | 3.0497 | 0.94446 | 13.8163
115 | 7165 | 2380 | 117980 | 2969 | 3.0105 | 0.80162 | 16.4662
116 | 7869 | 2586 | 124536 | 3068 | 3.0429 | 0.84289 | 15.8262
117 | 6195 | 2002 | 94179 | 2652 | 3.0944 | 0.7549 | 15.2024
118 | 11527 | 3953 | 150644 | 3766 | 2.916 | 1.0497 | 13.0688
119 | 12904 | 4346 | 157420 | 1246 | 2.9692 | 3.488 | 12.1993
120 | 14096 | 4773 | 152696 | 2405 | 2.9533 | 1.9846 | 10.8326
121 | 11267 | 3878 | 140642 | 3729 | 2.9054 | 1.04 | 12.4826
122 | 10795 | 3552 | 144854 | 3782 | 3.0391 | 0.93919 | 13.4186
123 | 12134 | 4010 | 149057 | 4167 | 3.0259 | 0.96232 | 12.2842
124 | 19014 | 6356 | 168803 | 6312 | 2.9915 | 1.007 | 8.8778
125 | 9638 | 3211 | 159214 | 3576 | 3.0016 | 0.89793 | 16.5194
126 | 13018 | 4374 | 151213 | 4198 | 2.9762 | 1.0419 | 11.6157
127 | 12497 | 4109 | 163516 | 4042 | 3.0414 | 1.0166 | 13.0844
128 | 11297 | 3692 | 169292 | 3786 | 3.0599 | 0.97517 | 14.9856
129 | 16731 | 5416 | 169605 | 5753 | 3.0892 | 0.94142 | 10.1372
130 | 8276 | 2770 | 125533 | 3375 | 2.9877 | 0.82074 | 15.1683
131 | 6406 | 2057 | 114038 | 2909 | 3.1142 | 0.70712 | 17.8017
132 | 9037 | 2975 | 154090 | 3546 | 3.0376 | 0.83897 | 17.051
133 | 8319 | 2663 | 152381 | 2923 | 3.1239 | 0.91105 | 18.3172
134 | 6465 | 2191 | 145058 | 2715 | 2.9507 | 0.807 | 22.4374
135 | 9738 | 3287 | 64695 | 3542 | 2.9626 | 0.92801 | 6.6436
136 | 9404 | 3164 | 65156 | 3386 | 2.9722 | 0.93444 | 6.9285
137 | 8946 | 3102 | 62421 | 3450 | 2.8839 | 0.89913 | 6.9775
138 | 10236 | 3594 | 69515 | 3568 | 2.8481 | 1.0073 | 6.7912
139 | 11200 | 3811 | 53471 | 3773 | 2.9389 | 1.0101 | 4.7742
140 | 7993 | 2716 | 42795 | 3145 | 2.9429 | 0.86359 | 5.3541
141 | 10995 | 3640 | 55427 | 3750 | 3.0206 | 0.97067 | 5.0411
142 | 8171 | 2703 | 45074 | 3257 | 3.0229 | 0.8299 | 5.5163
143 | 9491 | 3168 | 50148 | 3451 | 2.9959 | 0.91799 | 5.2837
144 | 8686 | 2922 | 46614 | 3214 | 2.9726 | 0.90915 | 5.3666
145 | 8093 | 2692 | 46246 | 3186 | 3.0063 | 0.84495 | 5.7143
146 | 8424 | 2851 | 47379 | 3174 | 2.9548 | 0.89824 | 5.6243
147 | 11030 | 3726 | 50020 | 3856 | 2.9603 | 0.96629 | 4.5349
148 | 9154 | 2984 | 44074 | 3224 | 3.0677 | 0.92556 | 4.8147
149 | 10354 | 3591 | 50769 | 3761 | 2.8833 | 0.9548 | 4.9033
150 | 10786 | 3393 | 52361 | 3933 | 3.1789 | 0.8627 | 4.8545
151 | 12135 | 4000 | 77178 | 3923 | 3.0337 | 1.0196 | 6.36
152 | 9961 | 3362 | 74466 | 3474 | 2.9628 | 0.96776 | 7.4758
153 | 12679 | 4164 | 88160 | 4168 | 3.0449 | 0.99904 | 6.9532
154 | 10701 | 3508 | 78967 | 3752 | 3.0505 | 0.93497 | 7.3794
155 | 11981 | 3925 | 62246 | 4011 | 3.0525 | 0.97856 | 5.1954
156 | 12209 | 4082 | 64786 | 4153 | 2.9909 | 0.9829 | 5.3064
157 | 10248 | 3295 | 60591 | 3779 | 3.1102 | 0.87192 | 5.9125
158 | 10287 | 3479 | 64303 | 3600 | 2.9569 | 0.96639 | 6.2509
159 | 11236 | 3756 | 63942 | 3222 | 2.9915 | 1.1657 | 5.6908
160 | 8745 | 2978 | 60706 | 3804 | 2.9365 | 0.78286 | 6.9418
161 | 9982 | 3291 | 68742 | 3477 | 3.0331 | 0.94651 | 6.8866
162 | 11637 | 3961 | 79981 | 3975 | 2.9379 | 0.99648 | 6.873
163 | 11234 | 3789 | 60356 | 3968 | 2.9649 | 0.95489 | 5.3726
164 | 11786 | 4012 | 63893 | 4003 | 2.9377 | 1.0022 | 5.4211
165 | 11184 | 3752 | 61626 | 3932 | 2.9808 | 0.95422 | 5.5102
166 | 11516 | 3829 | 67611 | 4043 | 3.0076 | 0.94707 | 5.871
167 | 10447 | 3587 | 61374 | 3502 | 2.9125 | 1.0243 | 5.8748
168 | 11859 | 3911 | 69179 | 3774 | 3.0322 | 1.0363 | 5.8335
169 | 12919 | 4210 | 77428 | 4088 | 3.0686 | 1.0298 | 5.9933
170 | 12710 | 4159 | 77229 | 3892 | 3.056 | 1.0686 | 6.0762
171 | 12435 | 4037 | 60888 | 3849 | 3.0803 | 1.0488 | 4.8965
172 | 11453 | 3783 | 57357 | 3748 | 3.0275 | 1.0093 | 5.008
173 | 11138 | 3734 | 58435 | 3787 | 2.9829 | 0.986 | 5.2465
174 | 10309 | 3612 | 58789 | 3496 | 2.8541 | 1.0332 | 5.7027
175 | 12412 | 4173 | 77439 | 4038 | 2.9744 | 1.0334 | 6.239
176 | 12972 | 4437 | 83931 | 4249 | 2.9236 | 1.0442 | 6.4702
177 | 12402 | 4283 | 83520 | 3934 | 2.8956 | 1.0887 | 6.7344
178 | 12251 | 6216 | 80447 | 4179 | 1.9709 | 1.4874 | 6.5666
179 | 10823 | 3698 | 55322 | 3655 | 2.9267 | 1.0118 | 5.1115
180 | 9576 | 3169 | 48877 | 3266 | 3.0218 | 0.9703 | 5.1041
181 | 11756 | 3929 | 58581 | 3823 | 2.9921 | 1.0277 | 4.9831
182 | 12791 | 4341 | 68697 | 4111 | 2.9466 | 1.0559 | 5.3707
183 | 11172 | 3754 | 58115 | 3553 | 2.976 | 1.0566 | 5.2018
184 | 10156 | 3417 | 50101 | 3413 | 2.9722 | 1.0012 | 4.9331
185 | 10539 | 3473 | 52049 | 3385 | 3.0346 | 1.026 | 4.9387
186 | 10707 | 3591 | 56884 | 3360 | 2.9816 | 1.0688 | 5.3128
187 | 12676 | 4178 | 52686 | 3617 | 3.034 | 1.1551 | 4.1564
188 | 9762 | 3430 | 44522 | 3232 | 2.8461 | 1.0613 | 4.5607
189 | 10883 | 3657 | 48970 | 3414 | 2.9759 | 1.0712 | 4.4997
190 | 9053 | 3080 | 42790 | 2965 | 2.9393 | 1.0388 | 4.7266
191 | 10576 | 3552 | 59938 | 3549 | 2.9775 | 1.0008 | 5.6674
192 | 11275 | 3871 | 68795 | 3652 | 2.9127 | 1.06 | 6.1016
193 | 10572 | 3478 | 66382 | 3496 | 3.0397 | 0.99485 | 6.279
194 | 10494 | 3472 | 66252 | 3700 | 3.0225 | 0.93838 | 6.3133
195 | 12737 | 4289 | 50732 | 3843 | 2.9697 | 1.1161 | 3.983
196 | 13718 | 4716 | 57877 | 4016 | 2.9088 | 1.1743 | 4.2191
197 | 11379 | 3862 | 50362 | 3585 | 2.9464 | 1.0773 | 4.4259
198 | 12306 | 4196 | 56372 | 3816 | 2.9328 | 1.0996 | 4.5809